## Sheet1
Beltweigher Design-Data Sheet
Customer
|  | Name |  | eMail |  | Phone
Mechanical Engineer
Instrumentation Engineer
Conveyor Identification
Design Feed |  |  |  | t/h
Conveyor Speed |  |  |  | m/sec
Accuracy |  |  |  | %FSD
Remarks:
Conveyor Dimensions
|  |  | Ident | Description |  | Value | Dimension
|  |  | A | Idler Diameter |  |  | mm
|  |  | B | Idler Top Distance |  |  | mm
|  |  | C | Fastening Distance |  |  | mm
|  |  | D | Idler Width |  |  | mm
|  |  | E | Outer edge to Base |  |  | mm
|  |  | F | Top Center Roller to Base |  |  | mm
|  |  | G | Troughing Angle |  |  | Deg
|  |  | X | Stringer width |  |  | mm
|  |  | Y | Stringer height |  |  | mm
|  |  | Z | Overall Width |  |  | mm
|  |  |  | Conveyor Incline |  |  | Deg
|  |  |  | Stringer Version (A or B) |  |  | Version
Instrument Options
| General |  | Requ. |  | Analog Outputs |  | Requ.
1 | Enclosure IP65 | Optional |  | 20 | Actual Value (0)4-20mA | Standard
2 | Glazed Door | Optional |  | 21 | Belt Load (0)4-20mA | Optional
3 | Fequency Tacho | Standard |  | 22 | Galvanic Isolation | Standard
4 | 24VDC Supply | Standard |  | 23
5 | 110VAC/24VDC | Optional |  | 24
6 | 220VDC/24VAC | Optional |  | 25
Digital Outputs
10 | Digital Out Ready | Standard
11 | Digital Out <Min | Standard
12 | Digital Out >Max | Standard |  |  | Fieldbus
13 | Digital Out Running | Optional |  | 30 | Modbus | Optional
14 | Digital Out Progr. | Optional |  | 31 | 3964 R (S5) | Optional
15 | Digital Out Progr. | Optional |  | 32 | Profibus DP | Optional
16 | Digital Out Progr. | Optional |  | 33 | Device Net | Optional
17 | Coupling Relays | Optional |  | 34 | Ethernet | Optional
18 | Optocouplers | Optional |  | 35 |  | Optional
Digital Inputs
20 | Integration On | Standard |  | Project Number:
21 | Intergration Off | Standard
22 | Release | Standard
23 | Relays | Optional |  | Date: